## ProgramDescription 2026-Annex1
QualcoDuna Proficiency Testing Hungary Nonprofit Kft. |  |  |  | Prepared by: Dr. Mátrai Norbert
Proficiency Testing Department |  |  |  | Approved by: Dr. Micsinai Adrienn
Programme Description 2026. - Annex 1. |  |  |  | Issue/version number: 1. issue, 4. version
Proficiency testing provider accredited by NAH under No NAH-8-0003/2023. |  |  |  | Date of issue: 2026.09.24.
Note1: When more than one PT item type is indicated, evaluation shall be carried out for all types.
Note2: Sampling exercise venues can be subject to change.
PT ID | Scheduled distribution | PT item type | PT item ID | Parameters | Sample quantity | PT item desciption | Preservation method | Net price (HUF) | Net price (EUR) | Other information
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | Ca, Mg, total hardness, As, Ni, Pb, Zn | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 14 mmol/dm3 HNO3 | 71500 | 178 | -
QDJV-1 | February 2026 | Drinking water | IV-G-1,2 | pH (20 °C), conductivity (20 °C) | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 26500 | 66 | -
QDJV-1 | February 2026 | Drinking water | IV-G-3.4 | Cl-, SO42-, K, Na | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 44500 | 110 | -
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Fe, Mn, Al, Ba, Cd, Cr, Cu | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 14 mmol/dm3 HNO3 | 71500 | 178 | -
QDJV-1 | February 2026 | Drinking water | IV-N/M-1,2 | NO2-, Hg | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 26500 | 66 | -
QDJV-1 | February 2026 | Drinking water | IV-N-1,2 | HH4+, NO3-, PO43- | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 + sterilisation | 35500 | 88 | -
QDJV-1 | February 2026 | Drinking water | IV-Org-1,2 | CODMn, TOC | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 26500 | 66 | -
QDJV-1 | February 2026 | Bathing water | FV-Org-1,2 | CODMn, TOC | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 26500 | 66 | -
QDJV-1 | February 2026 | Surface water | FSZ-Org-1,2 | CODCr, cBOD5, TOC | 2 x 1000 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 18 mmol/dm3 H2SO4 | 35500 | 88 | -
QDJV-2 | April 2026 | Waste | H-1,2 | pH (25°C) (1:10 water extract), conductivity (25°C), total water soluble material, SO42-, Cl-, F- (free), Ba, Zn From aqua regia digest: As, Ba, Cd, Co, Cr, Cu, Mo, Ni, Pb, Zn | 2 x 300 g | real industrial waste | none | 144000 | 360 | -
QDJV-2 | April 2026 | Soil | T-M-1,2 | Ag, As, B, Ba, Cd, Co, Cr, Cu, Mo, Ni, Pb, Sb, Se, Sn, Zn, Hg | 2 x 20 g | real soil, spiked with parameters to be quantified if necessary | none | 161900 | 405 | -
QDJV-2 | April 2026 | Soil | T-Org-1,2 | benzene, toluene, ethylbenzene, xylenes (o), xylenes (Σ m, p), xylenes (Σ o, m, p) | 2 x 3x5 g Soil in 10 cm3 methanol suspension | real soil, spiked with parameters to be quantified if necessary | cooling | 128500 | 320 | pickup: only in person
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | acenaphthene, acenaphthylene, anthracene, benz(a)anthracene, benz(a)pyrene, benz(e)pyrene, benzo(b)fluroanthene, benzo(k)fluoranthene, benzo(g,h,i)perylene, dibenz(a,h)anthracene, phenanthrene, fluoranthene, fluorene, indeno(1,2,3-cd)pyrene, chrysene, pyrene, PCB-28, PCB-52, PCB-101, PCB-118, PCB-138, PCB-153, PCB-180 | 2 x 20 g | real soil, spiked with parameters to be quantified if necessary | none | 225000 | 560 | -
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-3,4 | EPH (C10-C40) | 2 x 30 g | real soil, spiked with parameters to be quantified if necessary | none | 48000 | 120 | -
QDJV-2 | April 2026 | Surface water | FSZ-TOX-1,2 | Daphnia toxicology tests: Daphnia test (24h), Daphnia test (48h) | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 40000 | 100 | -
QDJV-2 | April 2026 | Surface water | FSZ-HB-1,2 | chlorophyll-a | 2 x 1500 cm3 | real surface water | cooling | 40000 | 100 | pickup: only in person
QDJV-2 | April 2026 | Surface water | FSZ-HB-3,4 | phytoplankton investigations: total number of algae; dominant taxa (phytoplankton) | 2 x 500 cm3 | real surface water | Lugol solution | 40000 | 100 | pickup: only in person
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | acenaphthene, acenaphthylene, anthracene, benz(a)anthracene, benz(a)pyrene, benz(e)pyrene, benzo(b)fluroanthene, benzo(k)fluoranthene, benzo(g,h,i)perylene, dibenz(a,h)anthracene, phenanthrene, fluoranthene, fluorene, indeno(1,2,3-cd)pyrene, chrysene, pyrene, PCB-28, PCB-52, PCB-101, PCB-118, PCB-138, PCB-153, PCB-180 | 2 x 4 cm3 | spike solution (solvent: acetonitrile) | cooling | 216000 | 540 | pickup: only in person
QDJV-2 | April 2026 | Groundwater | FSZA-Org-3,4 | EPH (C10-C40) | 2 x 4 cm3 | spike solution (solvent: n-pentane : methanol = 2 : 8) | cooling | 48000 | 120 | pickup: only in person
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | benzene, toluene, ethylbenzene, xylenes (o), xylenes (Σ m, p), xylenes (Σ o, m, p) | 2 x 4 cm3 | spike solution (solvent: methanol) | cooling | 81000 | 202 | pickup: only in person
QDJV-2 | April 2026 | Wastewater | SZV-Org-7-8 | total OSE | 2 x 250 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 18 mmol/dm3 H2SO4 | 18000 | 45 | -
QDJV-3 | May 2026 | Bathing water/Wastewater | FV/SZV-G-1,2 | pH (20°C), conductivity (20°C), total dissolved matter | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 36000 | 90 | -
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Cl-, Ca, Mg, total hardness, Ni, Pb, Zn | 2 x 500 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 14 mmol/dm3 HNO3 | 72100 | 180 | -
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | SO42-, K, Na, Fe, Mn, Al, As, Cd, Cr, Cu | 2 x 500 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 14 mmol/dm3 HNO3 | 99100 | 248 | -
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-N-1,2 | NH4+ -N, NO3- -N, PO43- -P | 2 x 500 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 18 mmol/dm3 H2SO4 + sterilisation | 36000 | 90 | -
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-Org-3,4 | MBAS | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 18000 | 45 | -
QDJV-4 | July 2026 | Surface water | FSZ-M-1,2 | Hg | 2 x 250 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 14 mmol/dm3 HNO3 + 0.5 g K2Cr2O7 /dm3 | 18000 | 45 | -
QDJV-4 | July 2026 | Surface water | FSZ-N-1,2 | total N, TON | 2 x 250 cm3 | filtered real surface water, spiked with parameters to be quantified if necessary | 12 mmol/dm3 HCl | 18000 | 45 | -
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-M-1,2 | Sb, Se, Sn | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 1.2 mol/dm3 HCl | 36000 | 90 | -
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-Org-1,2 | phenol index | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 3.5 mmol/dm3 H3PO4 + 1.9 g/dm3 CuSO4 *5H20 | 18000 | 45 | -
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-NS-1,2 | CN- (total) | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 0.4 mol/dm3 NaOH | 18000 | 45 | -
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Ca, Mg, K, Na, Fe, Mn, As, B, Pb, Zn | 2 x 18 g | real river sediment mixed with wastewater sludge | none | 126000 | 315 | -
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | dry matter content (105°C), residue on ignition (600°C), loss on ignition (600°C), ash content (800°C), total N, total P, Ba, Cd, Co, Cr, Cu, Mo, Ni, Se, Hg | 2 x 18 g | real river sediment mixed with wastewater sludge | none | 144200 | 360 | -
QDJV-5 | October 2026 | Surface water/Drinking water/Bathing water | IV/FSZ/FV-NS-1,2 | turbidity | 2 x 30 cm3 | simulated concentrate from deionised/high purity water | none | 18000 | 45 | -
QDJV-5 | October 2026 | Drinking water/Wastewater | IV/SZV-NS-1,2 | F- (free) | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 18000 | 45 | -
QDJV-5 | October 2026 | Wastewater | SZV-N-1,2 | NH4+ -N, NO3- -N, Kjeldahl N, PO43- -P, total P | 2 x 30 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 + sterilisation | 54100 | 135 | -
QDJV-5 | October 2026 | Wastewater | SZV-N/M-1,2 | NO2- -N, Hg | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 27100 | 68 | -
QDJV-5 | October 2026 | Wastewater | SZV-N/Org-1,2 | total N, organic N, TON, TOC | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 + sterilisation | 36000 | 90 | -
QDJV-5 | October 2026 | Wastewater | SZV-Org-9,10 | AOX | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 14 mmol/dm3 HNO3 | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-G-1,2 | Cl-, SO42-, K, Na | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 45100 | 113 | -
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Ca, Mg, total hardness, Fe, Mn, Al, Ba | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 14 mmol/dm3 HNO3 | 72100 | 180 | -
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | As, Cd, Co, Cr, Cu, Ni, Pb, Zn | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 14 mmol/dm3 HNO3 | 81200 | 203 | -
QDJV-6 | November 2026 | Wastewater | SZV-M-3,4 | Sb, Se, Sn | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 1.2 mol/dm3 HCl | 36000 | 90 | -
QDJV-6 | November 2026 | Wastewater | SZV-M-5,6 | Ag | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 1.4 mol/dm3 HNO3 | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-M-7,8 | B | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 12 mmol/dm3 HCl | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-M-9,10 | Mo | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 0.1 mol/dm3 NH3 | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-M-11,12 | Cr(VI) | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | none | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-Org-1,2 | CODCr, cBOD5, TOC | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 36000 | 90 | -
QDJV-6 | November 2026 | Wastewater | SZV-Org-3,4 | MBAS | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 18 mmol/dm3 H2SO4 | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-Org-5,6 | phenol index | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 3.5 mmol/dm3 H3PO4 +1.9 g/dm3 CuSO4 *5H20 | 18000 | 45 | -
QDJV-6 | November 2026 | Wastewater | SZV-NS-1,2 | CN- (total) | 2 x 20 cm3 | simulated concentrate from deionised/high purity water | 0.4 mol/dm3 NaOH | 18000 | 45 | -
QDJM-1 | 28. April 2026. | Drinking water microbiology sampling PT* | IVMM-L | Drinking water sampling for microbiological analysis (on-site measurements by Participants: pH (20°C), conductivity (20°C), free active chlorine, bound active chlorine and water temperature; laboratory measurements by Provider’s subcontractor: Colony count at 22°C and 37°C*) | 3 x 500 cm3 | Drinking water | 1.8% tiosulphate, sterile bottle | 75000 | 187 | Venue: Abony, Pest county
QDJM-2 | 24. February 2026 | Bathing water sampling exercise | FVM-L1,L2 | Bathing water sampling (on-site measurements by Participants: pH (20°C), free active chlorine, bound active chlorine, total active chlorine; laboratory measurements by Provider’s subcontractor: Ca, K, Mg, Fe, Mn, Na, Al, Cl-, NO3-) | 3 x 50 cm3 for cations 3 x 500 cm3 for anions | Bathing water | Cations: HNO3 Anions: by cooling | 137300 | 343 | Venue: Budapest
QDJM-4 | 12-14. May 2026 | Surface water sampling exercise | FSZM-L1,L2 | Surface water sampling (on-site measurements by Participants: pH (20°C), conductivity (20°C); laboratory measurements by Provider’s subcontractor: SO42-, Ca, K, Mg, Fe, Mn, Na, Cl-, NO3- | 3 x 50 cm3 for cations 3 x 500 cm3 for anions | Real surface water | Cations: HNO3 Anions: by cooling | 137300 | 343 | Venue: Vác, Buki-sziget
QDJM-4 | 12-14. May 2026 | Groundwater sampling exercise | FSZAM-L1,L2 | Groundwater sampling (on-site measurements by Participants: pH (20°C), conductivity (20°C); laboratory measurements by Provider’s subcontractor: SO42-, Ca, K, Mg, Fe, Mn, Na, Cl-, NO3- | 3 x 50 cm3 for cations 3 x 500 cm3 for anions | Real groundwater | Cations: HNO3 Anions: by cooling | 137300 | 343 | Venue: Vác, Buki-sziget
QDJM-5 | September 2026 | Wastewater sampling exercise | SZVM-L1,L2 | Wastewater sampling (on-site measurements by Participants: pH (25°C), conductivity (25°C) and water temperature; laboratory measurements by Provider’s subcontractor: SO42-, Ca, K, Mg, Fe, Mn, Na, Cl-, total N, total P, Ca, Cd, Cr, Mg, Ni, Pb/Zn | 3 x 50 cm3 for cations 3 x 500 cm3 for anions+total N | Communal waste leachate | Elements: HNO3 Anions+total N: by cooling | 137300 | 343 | Venue: Hejőpapi
QDJM-5 | September 2026 | Contaminated soil sampling exercise | SZTM-L1,L2 | Contaminated soil sampling (laboratory measurements by Provider’s subcontractor: quasi-total As, Cd, Co, Cr, Cu, Mo, Ni, Pb/Zn | 3 x 200 g glass jar | Area with a history of soil pollution | none | 154500 | 386 | Venue: Hejőpapi
QDJM-6 | October 2026 | Drinking water sampling exercise | IVM-L1,L2 | Drinking water sampling (on-site measurements by Participants: pH (20°C), conductivity (20°C), free active chlorine, bound active chlorine and water temperature; laboratory measurements by Provider’s subcontractor: Ca, Mg, Fe, Mn, K, Na, Al, Cl-, SO42-, CODMn | 3 x 50 cm3 for cations 3 x 500 cm3 for anions+CODMn | Drinking water | Cations: HNO3 Anions+CODMn: by cooling | 127500 | 318 | Venue: Budapest
*Colony count at 22°C and 37°C* are not part of the accredited scope

## ProgramDescription 2026-Annex2
QualcoDuna Proficiency Testing Hungary Nonprofit Kft. |  |  |  | Prepared by: Dr. Mátrai Norbert
Proficiency Testing Department |  |  |  | Approved by: Dr. Micsinai Adrienn
Programme Description 2026. - Annex 2. |  |  |  | Issue/version number: 1. issue, 4. version
Proficiency testing provider accredited by NAH under No NAH-8-0003/2023. |  |  |  | Date of issue: 2026.09.24.
Note1: When more than one PT item type is indicated, evaluation shall be carried out for all types.
PT ID | Scheduled distribution | PT item type | PT item ID | Parameter | Unit of measurement | Planned method for determination of assigned value | Expected concentration range (±planned σpt %) | Planned σpt %
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | Ca | mg/dm3 | robust average | 30 - 160 | 7
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | Mg | mg/dm3 | robust average | 3 - 40 | 7
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | total hardness | CaO mg/dm3 | robust average | 50-250 | 7
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | As | μg/dm3 | by formulation | 3-25 | 10
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | Ni | μg/dm3 | by formulation | 5-40 | 10
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | Pb | μg/dm3 | by formulation | 4-30 | 10
QDJV-1 | February 2026 | Drinking water | IV-G/M-1,2 | Zn | μg/dm3 | by formulation | 10-300 | 10
QDJV-1 | February 2026 | Drinking water | IV-G-1,2 | pH (20°) | pH unit | robust average | 5-9 | 0.1 pH unit
QDJV-1 | February 2026 | Drinking water | IV-G-1,2 | conductivity (20°C) | µS/cm | robust average | 400-1600 | 7
QDJV-1 | February 2026 | Drinking water | IV-G-3,4 | Cl- | mg/dm3 | robust average | 50-200 | 7
QDJV-1 | February 2026 | Drinking water | IV-G-3,4 | SO42- | mg/dm3 | robust average | 50-200 | 7
QDJV-1 | February 2026 | Drinking water | IV-G-3,4 | K | mg/dm3 | robust average | 2-20 | 7
QDJV-1 | February 2026 | Drinking water | IV-G-3,4 | Na | mg/dm3 | robust average | 30-150 | 7
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Al | μg/dm3 | by formulation | 50 – 220 | 10
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Ba | μg/dm3 | by formulation | 100-1000 | 10
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Fe | μg/dm3 | by formulation | 100-350 | 10
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Mn | μg/dm3 | by formulation | 10-150 | 10
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Cd | μg/dm3 | by formulation | 0.5-5 | 10
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Cr | μg/dm3 | by formulation | 5-40 | 10
QDJV-1 | February 2026 | Drinking water | IV-M-1,2 | Cu | μg/dm3 | by formulation | 10-100 | 10
QDJV-1 | February 2026 | Drinking water | IV-N/M-1,2 | NO2- | mg/dm3 | robust average | 10-100 | 7
QDJV-1 | February 2026 | Drinking water | IV-N/M-1,2 | Hg | μg/dm3 | robust average | 0.5-5 | 15
QDJV-1 | February 2026 | Drinking water | IV-N-1,2 | NH4+ | mg/dm3 | robust average | 0.1-0.7 | 10
QDJV-1 | February 2026 | Drinking water | IV-N-1,2 | NO3- | mg/dm3 | robust average | 5-75 | 7
QDJV-1 | February 2026 | Drinking water | IV-N-1,2 | PO43- | mg/dm3 | robust average | 0.1-1.2 | 7
QDJV-1 | February 2026 | Drinking water | IV-Org-1,2 | CODMn | mg/dm3 | robust average | 1-9 | 10
QDJV-1 | February 2026 | Drinking water | IV-Org-1,2 | TOC | mg/dm3 | robust average | 2 – 15 | 10
QDJV-1 | February 2026 | Bathing water | FV-Org-1,2 | CODMn | mg/dm3 | robust average | 2 – 10 | 7
QDJV-1 | February 2026 | Bathing water | FV-Org-1,2 | TOC | mg/dm3 | robust average | 3 – 15 | 10
QDJV-1 | February 2026 | Surface water | FSZ-Org-1,2 | CODCr | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-1 | February 2026 | Surface water | FSZ-Org-1,2 | cBOD5 | mg/dm3 | robust average | Real surface water (spiked if necessary) | 15
QDJV-1 | February 2026 | Surface water | FSZ-Org-1,2 | TOC | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-2 | April 2026 | Waste | H-1,2 | pH (25°C) (1:10 water extract) | pH unit | robust average | Real industrial waste | 0.2 pH unit
QDJV-2 | April 2026 | Waste | H-1,2 | conductivity (25°C) (1:10 water extract) | µS/cm | robust average | Real industrial waste | 10
QDJV-2 | April 2026 | Waste | H-1,2 | total water soluble material (1:10 water extract) | g/kg sz.a | robust average | Real industrial waste | 10
QDJV-2 | April 2026 | Waste | H-1,2 | SO42- (1:10 water extract) | mg/kg d.m. | robust average | Real industrial waste | 15
QDJV-2 | April 2026 | Waste | H-1,2 | Cl- (1:10 water extract) | mg/kg d.m. | robust average | Real industrial waste | 25
QDJV-2 | April 2026 | Waste | H-1,2 | F- (free) (1:10 water extract) | mg/kg d.m. | robust average | Real industrial waste | 25
QDJV-2 | April 2026 | Waste | H-1,2 | Ba (1:10 water extract and aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Zn (1:10 water extract) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | As (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Cd (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Co (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Cr (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Cu (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Mo (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Ni (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Waste | H-1,2 | Pb (aqua regia) | mg/kg d.m. | robust average | Real industrial waste | from Horwitz-equations
QDJV-2 | April 2026 | Soil | T-M-1,2 | Ag (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | As (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 15
QDJV-2 | April 2026 | Soil | T-M-1,2 | Ba (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Cd (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Co (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 15
QDJV-2 | April 2026 | Soil | T-M-1,2 | Cr (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Cu (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 15
QDJV-2 | April 2026 | Soil | T-M-1,2 | Hg (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Mo (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Ni (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 15
QDJV-2 | April 2026 | Soil | T-M-1,2 | Pb (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 15
QDJV-2 | April 2026 | Soil | T-M-1,2 | Se (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Zn (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 15
QDJV-2 | April 2026 | Soil | T-M-1,2 | B (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Sb (aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-M-1,2 | Sn (aqua regia) | mg/kg d.m. | robust average | Real soil sample, spiked if necessary | 20
QDJV-2 | April 2026 | Soil | T-Org-1,2 | Benzene | mg/kg d.m. | robust average | 0.5 – 5 | 20
QDJV-2 | April 2026 | Soil | T-Org-1,2 | Toluene | mg/kg d.m. | robust average | 0.5 – 8 | 20
QDJV-2 | April 2026 | Soil | T-Org-1,2 | Ethylbenzene | mg/kg d.m. | robust average | 0.5 – 10 | 20
QDJV-2 | April 2026 | Soil | T-Org-1,2 | Xylenes (o) | mg/kg d.m. | robust average | 0.5 – 10 | 20
QDJV-2 | April 2026 | Soil | T-Org-1,2 | Xylenes (Σ m,p) | mg/kg d.m. | robust average | 0.5 – 12 | 20
QDJV-2 | April 2026 | Soil | T-Org-1,2 | Xylenes (Σ o,m,p) | mg/kg d.m. | robust average | 0.5 – 12 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Acenaphthene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Acenaphthylene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Anthracene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Benz(a)anthracene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Benz(a)pyrene | mg/kg d.m. | robust average | 0.01 – 0.20 | 25
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Benz(e)pyrene | mg/kg d.m. | robust average | 0.01 – 0.20 | 25
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Benzo(b)fluroanthene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Benzo(k)fluoranthene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Benzo(g,h,i)perylene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Dibenz(a,h)anthracene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Penanthrene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Fluoranthene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Fluorene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Indeno(1,2,3-cd)pyrene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Chrysene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | Pyrene | mg/kg d.m. | robust average | 0.01 – 0.20 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-28 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-52 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-101 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-118 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-138 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-153 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-1,2 | PCB-180 | mg/kg d.m. | robust average | 0.01 – 0.15 | 20
QDJV-2 | April 2026 | Wastewater sludge/Sediment/Soil | ISZ/T-Org-3,4 | EPH (C10-C40) | mg/kg d.m. | robust average | 50 – 1500 | 20
QDJV-2 | April 2026 | Surface water | FSZ-TOX-1,2 | Daphnia toxicology test (24h) | - | robust average | - | 20
QDJV-2 | April 2026 | Surface water | FSZ-TOX-1,2 | Daphnia toxicology test (48h) | - | robust average | - | 25
QDJV-2 | April 2026 | Surface water | FSZ-HB-1,2 | chlorophyll-a | µg/dm3 | robust average | - | 20
QDJV-2 | April 2026 | Surface water | FSZ-HB-3,4 | phytoplankton investigations: total number of algae; dominant taxa (phytoplankton) | ind/cm3 | robust average | - | 25
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Acenaphthene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Acenaphthylene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Anthracene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Benz(a)anthracene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Benz(a)pyrene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Benz(e)pyrene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Benzo(b)fluroanthene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Benzo(k)fluoranthene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Benzo(g,h,i)perylene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Dibenz(a,h)anthracene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Penanthrene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Fluoranthene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Fluorene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Indeno(1,2,3-cd)pyrene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Chrysene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | Pyrene | µg/dm3 | robust average | PAH total: 0.2 - 1.2 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-28 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-52 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-101 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-118 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-138 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-153 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-1,2 | PCB-180 | µg/dm3 | robust average | PCB total: 0.01 - 0.12 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-3,4 | EPH (C10-C40) | µg/dm3 | robust average | 30-200 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | Benzene | µg/dm3 | robust average | 0.3 - 3.5 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | Toluene | µg/dm3 | robust average | 10 - 65 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | Ethylbenzene | µg/dm3 | robust average | 10 - 65 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | Xylenes (o) | µg/dm3 | robust average | 5 - 45 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | Xylenes (Σ m,p) | µg/dm3 | robust average | 10 – 65 | 20
QDJV-2 | April 2026 | Groundwater | FSZA-Org-5,6 | Xylenes (Σ o,m,p) | µg/dm3 | robust average | 10 – 65 | 20
QDJV-2 | April 2026 | Wastewater | SZV-Org-7-8 | total OSE | mg/sample | robust average | 5 - 35 | 15
QDJV-3 | May 2026 | Bathing water/Wastewater | FV/SZV-G-1,2 | pH (20°) | pH unit | robust average | 5 – 8 | 0.1 pH unit
QDJV-3 | May 2026 | Bathing water/Wastewater | FV/SZV-G-1,2 | conductivity (20°C) | µS/cm | robust average | 500 –2000 | 7
QDJV-3 | May 2026 | Bathing water/Wastewater | FV/SZV-G-1,2 | total dissolved matter | mg/dm3 | robust average | 400 –2000 | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Cl- | mg/dm3 | robust average | Real surface water (spiked if necessary) | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Ca | mg/dm3 | robust average | Real surface water (spiked if necessary) | 5
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Mg | mg/dm3 | robust average | Real surface water (spiked if necessary) | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | total hardness | CaO mg/dm3 | robust average | Real surface water (spiked if necessary) | 5
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Ni | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Pb | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-1,2 | Zn | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | SO42- | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | K | mg/dm3 | robust average | Real surface water (spiked if necessary) | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Na | mg/dm3 | robust average | Real surface water (spiked if necessary) | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Fe | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Mn | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Al | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | As | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Cd | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Cr | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-G/M-3,4 | Cu | µg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-N-1,2 | NH4+ -N | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-N-1,2 | NO3- -N | mg/dm3 | robust average | Real surface water (spiked if necessary) | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-N-1,2 | PO43- -P | mg/dm3 | robust average | Real surface water (spiked if necessary) | 7
QDJV-3 | May 2026 | Bathing water/Surface water | FSZ/FV-Org-3,4 | MBAS | μg/dm3 | robust average | 40-200 | 15
QDJV-4 | July 2026 | Surface water | FSZ-M-1,2 | Hg | μg/dm3 | robust average | Real surface water (spiked if necessary) | 15
QDJV-4 | July 2026 | Surface water | FSZ-N-1,2 | Total N | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-4 | July 2026 | Surface water | FSZ-N-1,2 | TON | mg/dm3 | robust average | Real surface water (spiked if necessary) | 10
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-M-1,2 | Sb | µg/dm3 | by formulation | 1.0 – 10 | 10
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-M-1,2 | Se | µg/dm3 | by formulation | 2.0 – 20 | 10
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-M-1,2 | Sn | µg/dm3 | by formulation | 1.0 – 20 | 10
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-Org-1,2 | Phenol index | μg/dm3 | robust average | 5-40 | 10
QDJV-4 | July 2026 | Surface water/Drinking water | IV/FSZ-NS-1,2 | CN- (total) | μg/dm3 | robust average | 20-120 | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Ca (HNO3+H2O2 or aqua regia) | g/kg sz.a | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Mg (HNO3+H2O2 or aqua regia) | g/kg sz.a | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | K (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 20
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Na (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 20
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Fe (HNO3+H2O2 or aqua regia) | g/kg sz.a | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Mn (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | As (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | B (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Pb (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-1,2 | Zn (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Dry matter content (105 °C) | g/kg | robust average | Real river sediment mixed with wastewater sludge | 1
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Residue on ignition (600 °C) | g/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 2
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Loss on ignition (600 °C) | g/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Ash content (800 °C) | g/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 2
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Total N | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Total P | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Ba (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Cd (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Co (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Cr (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Cu (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Mo (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Ni (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 10
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Se (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Wastewater sludge/Sediment | ISZ-3,4 | Hg (HNO3+H2O2 or aqua regia) | mg/kg d.m. | robust average | Real river sediment mixed with wastewater sludge | 15
QDJV-5 | October 2026 | Surface water; Drinking water, Bathing water | IV/FSZ/FV-NS-1,2 | Turbidity | FNU | robust average | 0.3 - 2.8 | 10
QDJV-5 | October 2026 | Drinking water/Wastewater | IV/SZV-NS-1,2 | F- (free) | mg/dm3 | by formulation | 0.5 – 2.5 | 7
QDJV-5 | October 2026 | Wastewater | SZV-N-1,2 | NH4+ -N | mg/dm3 | robust average | 2.0 – 18.0 | 7
QDJV-5 | October 2026 | Wastewater | SZV-N-1,2 | NO3- -N | mg/dm3 | robust average | 8.0 – 80.0 | 7
QDJV-5 | October 2026 | Wastewater | SZV-N-1,2 | Kjeldahl-N | mg/dm3 | robust average | 3.0 – 18.0 | 10
QDJV-5 | October 2026 | Wastewater | SZV-N-1,2 | PO43- -P | mg/dm3 | robust average | 1.0 – 9.0 | 7
QDJV-5 | October 2026 | Wastewater | SZV-N-1,2 | Total P | mg/dm3 | robust average | 1.0 – 15.0 | 7
QDJV-5 | October 2026 | Wastewater | SZV-N/M-1,2 | NO2- -N | mg/dm3 | robust average | 0.10 – 1.2 | 7
QDJV-5 | October 2026 | Wastewater | SZV-N/M-1,2 | Hg | μg/dm3 | robust average | 10 – 50 | 10
QDJV-5 | October 2026 | Wastewater | SZV-N/Org-1,2 | Total N | mg/dm3 | robust average | 10 – 70 | 10
QDJV-5 | October 2026 | Wastewater | SZV-N/Org-1,2 | Organic N | mg/dm3 | robust average | 1.0 – 5.0 | 15
QDJV-5 | October 2026 | Wastewater | SZV-N/Org-1,2 | TON | mg/dm3 | robust average | 10 – 40 | 10
QDJV-5 | October 2026 | Wastewater | SZV-N/Org-1,2 | TOC | mg/dm3 | robust average | 20 – 200 | 5
QDJV-5 | October 2026 | Wastewater | SZV-Org-9,10 | AOX | mg/dm3 | robust average | 0.1-2,0 | 10
QDJV-6 | November 2026 | Wastewater | SZV-G-1,2 | Cl- | mg/dm3 | robust average | 60 – 300 | 5
QDJV-6 | November 2026 | Wastewater | SZV-G-1,2 | SO42- | mg/dm3 | robust average | 100 – 400 | 5
QDJV-6 | November 2026 | Wastewater | SZV-G-1,2 | K | mg/dm3 | robust average | 3 – 25 | 5
QDJV-6 | November 2026 | Wastewater | SZV-G-1,2 | Na | mg/dm3 | robust average | 60 – 250 | 5
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Ca | mg/dm3 | robust average | 30 – 200 | 5
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Mg | mg/dm3 | robust average | 5 – 35 | 7
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | total hardness | CaO mg/dm3 | robust average | 100 – 300 | 5
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Fe | mg/dm3 | robust average | 3 – 25 | 7
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Mn | mg/dm3 | robust average | 0.5 – 8 | 7
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Al | mg/dm3 | robust average | 0.5 – 6 | 7
QDJV-6 | November 2026 | Wastewater | SZV-G/M-1,2 | Ba | mg/dm3 | robust average | 0.3 – 3.0 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | As | mg/dm3 | by formulation | 0.1 – 1.0 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Cd | mg/dm3 | by formulation | 0.05 – 1.0 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Co | mg/dm3 | by formulation | 0.1 – 2.5 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Cr | mg/dm3 | by formulation | 0.2 – 2.0 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Cu | mg/dm3 | by formulation | 0.5 – 6.0 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Ni | mg/dm3 | by formulation | 0.5 – 4.0 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Pb | mg/dm3 | by formulation | 0.1 – 2.0 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-1,2 | Zn | mg/dm3 | by formulation | 0.5 – 10.0 | 5
QDJV-6 | November 2026 | Wastewater | SZV-M-3,4 | Sb | mg/dm3 | by formulation | 0.3 – 2.5 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-3,4 | Se | mg/dm3 | by formulation | 0.1 – 2.0 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-3,4 | Sn | mg/dm3 | by formulation | 0.1 – 2.5 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-5,6 | Ag | mg/dm3 | by formulation | 0.03 – 0.4 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-7,8 | B | mg/dm3 | robust average | 0.1 – 2.5 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-9,10 | Mo | mg/dm3 | by formulation | 0.1 – 1.5 | 7
QDJV-6 | November 2026 | Wastewater | SZV-M-11,12 | Cr(VI) | mg/dm3 | robust average | 0.05 – 1.5 | 7
QDJV-6 | November 2026 | Wastewater | SZV-Org-1,2 | CODCr | mg/dm3 | robust average | 250 – 1300 | 5
QDJV-6 | November 2026 | Wastewater | SZV-Org-1,2 | cBOD5 | mg/dm3 | robust average | 160 – 800 | 10
QDJV-6 | November 2026 | Wastewater | SZV-Org-1,2 | TOC | mg/dm3 | robust average | 10 – 50 | 5
QDJV-6 | November 2026 | Wastewater | SZV-Org-3,4 | MBAS | mg/dm3 | robust average | 0.3 – 3.0 | 10
QDJV-6 | November 2026 | Wastewater | SZV-Org-5,6 | phenol index | mg/dm3 | robust average | 0.05 – 2.0 | 10
QDJV-6 | November 2026 | Wastewater | SZV-NS-1,2 | CN- (total) | mg/dm3 | robust average | 0.7 – 3.5 | 10